MINUTES

Town of Brighton Architectural Review Board (ARB)

September 24, 4:30 PM

Brighton Town Hall

2300 Elmwood Avenue

Comments or questions may be submitted to Smarlin Espino, Secretary of the ARB, smarlin.espino@townofbrighton.org, or 585-784-5227.

Applications will be available for review on the town's website no later than twenty-four hours before the meeting to the extent practicable.

ATTENDANCE:

Andrew Spencer 	Present

Casey Sacco		Present

Chris Jahn 		Present

Fran Schwartz		Absent

Mary Scipioni 		Absent

Stuart Mackenzie 	Absent

NEW BUSINESS:

Application Number: AR-24-53

425 French Rd

Constructing a kitchen and porch addition

Meeting Notes:

The applicants will use pressure-treated wood with an azek column wrap that will match what is existing. The roof will be asphalt shingles to match the existing roof. The vinyl siding and trim contractor will try to match the existing siding or blend the color in. The board members advised them that if they could not match the existing siding, they would need to replace all the siding. The board members were concerned that the new roof was not aligned with the existing roof. However, there is a step difference between them to avoid crowding the windows.

Decision: Approved as Presented

Application Number:  AR-24-54

3403 Elmwood Ave

Installation of a grid-tied, roof-mounted PV array

Meeting Notes:

The project manager had stated that the conduits would be hidden behind the chimney so that it would not be visible from the road and only one array located in the garage would be seen by the road.  The wires will be running internally aside for one array. The BM recommends shifting the orientation of the conduit to make sure that it is not visible.

Decision: Approved with Conditions

- The exposed conduit for the garage roof array shall be brought to the back of the house and not across the roof

- No wires shall be visible in the front array

Application Number: AR-24-55

49 Southern Pkwy

Front porch addition and renovation to the home

Meeting Notes:

The homeowners are doing a whole house renovation, tearing down the driveway, and making it into a two-car garage that will be able to fit their trailer. They will be adding a front porch area to the front of the house. It will have carbon roof shingles, the garage will be slate, grey neutral-tone stone vinyl, and have shake shingles. Board members had requested for the homeowners to make sure that the plans reflect what you are presenting.  The homeowner had an adjustment to the plans to properly display the 10ft steel garage door. Board members recommend that the architect revisit the eaves by the garage door to be more cohesive with the front lines. They were also concerned about the large gable that is very dissimilar in the style of the neighborhood and will recommend they put a dormer or a Dutch gable in to distribute the larger expansion, especially with the large gable.

Decision: Table

- Prepare plans as discussed to accurately depict the design, all but not limited to the garage

- Shall bring examples and/or specifications of the materials.

- Revise ways to reduce the mass of the roof by specifically reducing the ride of the ridge

Application Number:  AR-24-56

50 Woodmont Rd

7.6' x 4' entryway addition to the existing front roof overhang.

Meeting Notes:

The architect is presenting a 2-story colonial with a new covered entryway, there are 4 houses in the neighborhood with the same addition. The siding will match to existing structure. There will be no new foundation just a new platform and insulation for the space.

Decision: Approved as Presented

Application Number: AR-24-57

4 Chelmsford Rd

Handicap accessible ramp and renovation to the front portico.

Meeting Notes:

The Dentist and Orthodontics would like a handicap-accessible ramp and there is no ADA parking space. The board members had inquired about the rear entrance but the property owner had informed us that it has more steps than the front of the building. They had looked into getting an elevator ramp, but they came up with issues regarding the width of the building. The property owner is looking to cladding the entrance with white and gray aluminum wood grain. The columns would be removed and replaced with engineered structures that will not be noticeable. For the ramp, there will be raised concrete but there is a void in between which will be difficult for maintenance. The board members had suggested making a solid material for the back page as well what is the cap for the ramp. Also, double-check the dimensions of the ramp to make sure that they meet the ADA requirements. The board members struggled to see this style as modern or see the similarity to the surrounding buildings in the neighborhood and suggested revising the north façade and how that material would work with the rest of the building.

Decision: Table

- Revise the structure of the ramp so that it shall be ADA-compliant

- Revise the proportion, colors, and material choices so that they shall be more appropriate for the intended purpose and aesthetics.

Application Number:  AR-24-58

37 Buckland Ave

Removal of existing 8'-0" wide garage doors and replacement with new 9'-0" wide x 7'-0" high doors.

Decision: Table due to Failure to Appear

SIGNS:

Application Number: SN-24-28 (1733)

2775 Monroe Ave

Non-illuminated 32sqft aluminum sign printed with 3mm Jbond material with a black core in the middle for Spin and Savor

Action: Table

- Image needs to meet requirement

- Revolving Dim Sum is not part of the DBA

Application Number: SN-24-29 (1734)

2253 S Clinton Ave

An internally illuminated 3” deep aluminum channel letters with a translucent white acrylic 3/16”  T and blue translucent 79sqft sign for Planned Parenthood

Action: Recommended on Condition

- The raceway shall match the color of the building

Application Number: SN-24-30 (1735)

1880-1882 S Winton Rd

An 18 sqft sign with  ¾” thick-formed plastic letters stud mounted to a brick façade  for GAMEDAY MEN’S HEALTH

Action: Recommended to the Planning Board

Application Number: SN-24-31 (1736)

1468 (1478)  Monroe Ave

A 22.5 sqft aluminum sign with vinyl graphics for Nail Design 2

Action: Recommended to the Planning Board