MINUTES

Town of Brighton Architectural Review Board (ARB)

March 25, 2025, 4:30 PM

Brighton Town Hall

680 Westfall Rd, Rochester, NY 14620

Comments or questions may be submitted to Smarlin Espino, Secretary of the ARB, smarlin.espino@townofbrighton.org, or 585-784-5227.

Applications will be available for review on the town's website no later than twenty-four hours before the meeting to the extent practicable.

APPROVAL OF MINUTES:

February 25, 2025:  Approved with revisions – 1 absentee vote

OLD BUSINESS:

Application Number: AR-25-8

321 Inwood Dr

Second-floor master suite addition above existing garage

Meeting Notes:  The architect has rearranged the windows to match the spacing on the front of the house and added small awning windows on the side to maintain privacy due to the proximity to the lot line. Board members noted that some of their previous concerns about window size have been addressed.

Decisions: Approved as Presented

NEW BUSINESS:

Application Number: AR-25-17

2021 S Winton Rd

Construct an “addition” to the new independent senior apartment on the Jewish Senior Life campus

Meeting Notes: The fitness center will have a similar look to the main building. All materials and colors will match what was previously approved for the main building. It will have a pitched roof and have a path to exit to the parking lot.

Decisions: Approved as Presented

Application Number: AR-25-18

166 Evandale Rd

Construct a second-story addition above the garage

Meeting Notes:  The house is a modern barn-style design and the addition will be using board and batten materials, intended to complement the existing structure. The siding may be cedar shake or Hardie, but the color is still undecided. The existing garage door will remain unchanged. Board members raised questions about the roof ridges, the dimensional step-back or step-forward of the addition, and how the vertical and horizontal board and batten will meet. They also suggested using vertical siding as an accent rather than covering the entire addition.

Decisions: Table

- Final material and color selection shall be presented

- Full treatment of the siding needs to be presented

- The floor height and the ridge line heights shall be noted on the plans.

Application Number: AR-25-19

210 Whitewood Ln

Renovating the porch from a screened porch to a windowed porch

Meeting Notes: The homeowners are converting their screened porch into a windowed porch to keep out pollen and dust. They’ll use Boral TruExterior siding painted to match the house, along with pine accent trim for consistency. The new roof will match the existing pitch and use architectural shingles, and they plan to reuse their current gutters.

Decisions: Approved as Presented

Application Number: AR-25-20

81 Penfield Rd

Installing a new skirt roof and build a new deck

Meeting Notes: The homeowners plan to upgrade the back of their house to create a better entrance from the garage and expand their outdoor living space. They’ll add a deck with sun railings, featuring white posts, black railings and balusters, and white composite caps and bottom rails. The deck will have a grey floor. A new brush brown standing seam roof will extend 18–24 inches from the main roof, matching the existing roof’s color. Deck columns will be squared, while columns by the other door will be rounded.

Decisions: Approved as Presented

SIGNS:

Application Number: SN-25-9 (1756)

1900 S Clinton Ave

3" deep individual Internally Illuminated LED channel letters for Rochester Top Team

Decision: Recommended Approval as Presented